## Fuse-CB Ampere Ratings
STD FUSE/CB AMPERE RATINGS — NEC ARTICLE 240.6
Values in red (1, 3, 6, 10 A) are non-standard for most applications per NEC 240.6(A)
Rating (A) | Group | Standard? | Notes
1 | Non-standard (NEC 240.6 listed) | No | Limited use; specialty fuses
3 | Non-standard (NEC 240.6 listed) | No | Limited use; specialty fuses
6 | Non-standard (NEC 240.6 listed) | No | Limited use; specialty fuses
10 | Non-standard (NEC 240.6 listed) | No | Limited use; specialty fuses
15 | Standard | Yes
20 | Standard | Yes
25 | Standard | Yes
30 | Standard | Yes
35 | Standard | Yes
40 | Standard | Yes
45 | Standard | Yes
50 | Standard | Yes
60 | Standard | Yes
70 | Standard | Yes
80 | Standard | Yes
90 | Standard | Yes
100 | Standard | Yes
110 | Standard | Yes
125 | Standard | Yes
150 | Standard | Yes
175 | Standard | Yes
200 | Standard | Yes
225 | Standard | Yes
250 | Standard | Yes
300 | Standard | Yes
350 | Standard | Yes
400 | Standard | Yes
450 | Standard | Yes
500 | Standard | Yes
600 | Standard | Yes
700 | Standard | Yes
800 | Standard | Yes
1000 | Standard | Yes
1200 | Standard | Yes
1600 | Standard | Yes
2000 | Standard | Yes
2500 | Standard | Yes
3000 | Standard | Yes
4000 | Standard | Yes
5000 | Standard | Yes
6000 | Standard | Yes

## Switch Ampere Ratings
STD SWITCH AMPERE RATINGS
Rating (A) | Category | Typical Application
30 | Low | Branch circuit / small feeder
60 | Low | Branch circuit / feeder
100 | Low | Feeder / small service
200 | Medium | Service entrance / feeder
400 | Medium | Service entrance / feeder
600 | Medium | Service entrance / feeder
800 | Medium | Large feeder / service
1200 | High | Large service / switchgear
1600 | High | Large service / switchgear
2000 | High | Large service / switchgear
2500 | High | Utility / industrial switchgear
3000 | High | Utility / industrial switchgear
4000 | High | Utility / industrial switchgear
5000 | High | Utility / industrial switchgear
6000 | High | Utility / industrial switchgear

## Short Circuit Ratings
STD SHORT CIRCUIT RATINGS (kAIC)
Rating (kAIC) | Rating (AIC) | Tier | Typical Use
10 | 10,000 | Low | Residential / small commercial panelboards
14 | 14,000 | Low | Light commercial distribution
18 | 18,000 | Low | Commercial panelboards
22 | 22,000 | Medium | Commercial / light industrial
25 | 25,000 | Medium | Commercial distribution panels
35 | 35,000 | Medium | Commercial MCCs / switchboards
42 | 42,000 | Medium | Industrial / commercial service entrance
65 | 65,000 | High | Industrial switchgear / large service
100 | 100,000 | High | Utility service / switchgear
150 | 150,000 | High | High-fault utility / switchgear
200 | 200,000 | High | Utility / special industrial applications

## Quick Reference
ELECTRICAL RATINGS QUICK REFERENCE — NEC 240.6 / NFPA 70
FUSE/CB STANDARD RATINGS (A) — NEC 240.6(A)
1 | 3 | 6 | 10 | 15 | 20 | 25 | 30 | 35
40 | 45 | 50 | 60 | 70 | 80 | 90 | 100 | 110
125 | 150 | 175 | 200 | 225 | 250 | 300 | 350 | 400
450 | 500 | 600 | 700 | 800 | 1000 | 1200 | 1600 | 2000
2500 | 3000 | 4000 | 5000 | 6000
SWITCH STANDARD RATINGS (A)
30 | 60 | 100 | 200 | 400 | 600 | 800 | 1200 | 1600
2000 | 2500 | 3000 | 4000 | 5000 | 6000
SHORT CIRCUIT RATINGS (kAIC)
10 | 14 | 18 | 22 | 25 | 35 | 42 | 65 | 100
150 | 200